AMI DATA ANALYTICS

Analyzer Module Technical Reference Guide

Architecture, Data Flow, Backend Services, Snowflake Integration, and Support Documentation

Prepared By

Uma S Panigrahi

Application

AMI Data Analytics Platform

Module

Analyzer

# Table of Contents

# 1. Overview

## 1.1 Purpose

This document provides a detailed technical reference for the Analyzer module, including frontend components, backend services, API integrations, Oracle stored procedures, Snowflake query execution, business calculations, and troubleshooting guidance.

## 1.2 Scope

- Meter Analysis

- Coincident / Non-Coincident Peak Reporting

- Graph Framework

- Snowflake Integration

- Export Features

## 1.3 Major Functional Areas

The Analyzer module provides analytical capabilities for AMI meter and transformer data. The module contains two major functional areas:

### 1.3.1 Meter Analysis

Used to analyze:

- Demand

- Consumption

- Voltage

for individual meters.

### 1.3.2 Coincident / Non-Coincident Peak Reporting

Used to:

- Search transformers

- Calculate coincident peaks

- Calculate non-coincident peaks

- Identify contributor meters

- Generate reports

# 2. System Architecture

## 2.1 High-Level Architecture

Angular UI

↓

Controller APIs

↓

Service Layer

↓

Oracle Stored Procedures

↓

Oracle Query Repository

↓

Snowflake Queries

↓

Snowflake Data

↓

JSON Response

↓

Charts / Grids

## 2.2 Component Architecture

The following matrix defines component dependencies across the Analyzer module.

| Component | Depends On |
| --- | --- |
| AnalyzerComponent | MeterAnalyzerService, TransformerService, SearchComponent |
| MeterAnalysisDetailsComponent | MeterAnalyzerService |
| GraphController | GraphService |
| GraphService | OracleConnector, SnowflakeConnector |

## 2.3 Data Flow Architecture

End-to-end architecture summary across the module's primary workflows.

#### Meter Search → Analysis

Meter Search

↓

AnalyzerComponent

↓

MeterAnalyzerService

↓

MeterAnalyzerController

↓

Oracle Stored Procedure

#### Meter Details → Graphing

Meter Details

↓

MeterAnalysisDetailsComponent

↓

GraphController

↓

GraphService

↓

Oracle Query Repository

↓

Snowflake

#### Transformer Search

Transformer Search

↓

AnalyzerComponent

↓

MeterAnalyzerController

↓

Oracle Procedure

#### Coincident Popup

Coincident Popup

↓

TransformerService

↓

Snowflake

↓

Contributor Meter Data

# 3. Frontend Architecture

## 3.1 Primary Component

Page: Analyzer → Meter Analysis

| Component | Files |
| --- | --- |
| AnalyzerComponent | analyzer.component.ts, analyzer.component.html |

## 3.2 Supporting Components

| Component | Responsibility |
| --- | --- |
| SearchComponent | Used for Meter Search and Transformer Search |
| UtilityTypeFilterCellComponent | Grid filter component |
| PcbFilterCellComponent | Transformer PCB filter |

## 3.3 Frontend Services

- MeterAnalyzerService.service.ts

- TransformerService.service.ts

- MeterService.ts

- SecurityService.ts

# 4. Backend Architecture

## 4.1 Controller Layer

| Controller | Key Methods | Purpose |
| --- | --- | --- |
| MeterAnalyzerController | AnalyzerAllMeterDetails(), SearchAnalyzerMeterDetails(), AnalyzerCoinNonCoinPeakReportSearch() | Handles meter and transformer search, and peak report search requests |
| GraphController | GetCombinedMeterData() | Retrieves combined chart data via GraphService |

## 4.2 Service Layer

| Service | Key Methods | Purpose |
| --- | --- | --- |
| MeterAnalyzerService | GetAllAnalyzerMeterDetailbyJson(), SearchAnalyzerMeterDetailsByParam() | Retrieves and searches meter details |
| GraphService | GetCombinedMeterData(), GetQueryFromOracle(), ReplacePlaceholdersFromJson() | Resolves dynamic queries and retrieves chart data |

## 4.3 Connector Layer

| Connector | Key Methods | Purpose |
| --- | --- | --- |
| IOracleConnectorODP | — | Oracle database connectivity |
| SnowflakeConnector | ExecuteSnowflakeJson(), fetchSnowflakeDataASDT(), GetAllDataAsJsonString() | Executes Snowflake queries and returns JSON results |

## 4.4 Backend Code Inventory

#### Controllers

- MeterAnalyzerController.cs

- GraphController.cs

#### Services

- MeterAnalyzerService.cs

- GraphService.cs

#### Connectors

- IOracleConnectorODP

- SnowflakeConnector.cs

# 5. Query Resolution Framework

## 5.1 Dynamic Query Framework Overview

⚠ Important Note: The Analyzer module does not contain hardcoded Snowflake SQL. All Snowflake query definitions are retrieved dynamically from Oracle at runtime.

## 5.2 Query Resolution Process

Query ID

↓

GraphService

↓

GetQueryFromOracle()

↓

V_SP_DA_GET_ALGQUERY

↓

Query Version Repository

↓

SQL Template

↓

ReplacePlaceholdersFromJson()

↓

Snowflake SQL

↓

ExecuteSnowflakeJson()

## 5.3 Feature-to-Query Mapping

| Feature | Query ID |
| --- | --- |
| Voltage Analysis | 15 |
| Detailed Demand | 16 |
| Detailed Consumption | 16 |
| Billing Periods | 17 |
| Coincident Peak — 15 Min | 63 |
| Coincident Peak — Hourly | 65 |
| Coincident Peak — Daily | 66 |

## 5.4 Query ID Inventory

| Query ID | Feature | Description |
| --- | --- | --- |
| 15 | Voltage Analysis | Retrieves per-phase voltage readings for a meter |
| 16 | Detailed Demand | Retrieves demand metrics for a meter |
| 16 | Detailed Consumption | Retrieves consumption metrics for a meter |
| 17 | Billing Periods | Retrieves billing period date ranges |
| 63 | Coincident / Non-Coincident (15 Min) | Coincident/non-coincident peak query, 15-minute interval |
| 65 | Coincident / Non-Coincident (Hourly) | Coincident/non-coincident peak query, hourly interval |
| 66 | Coincident / Non-Coincident (Daily) | Coincident/non-coincident peak query, daily aggregated |

# 6. Meter Analysis Module

## 6.1 Meter Search

### 6.1.1 Purpose

Allows users to search AMI meters.

### 6.1.2 Search Criteria

- Meter Number

- Address

- City

- Account Number

- Point ID

### 6.1.3 Data Flow

#### Meter Search Flow

User enters search criteria

↓

SearchComponent

↓

handleSearch()

↓

AnalyzerComponent

↓

getAnalyzerMetersDetailsBySearchParam()

↓

MeterAnalyzerService

↓

POST SearchAnalyzerMeterDetails

↓

MeterAnalyzerController

↓

MeterAnalyzerService

↓

V_SP_DA_ANALYZER_METER_SEARCH

↓

Oracle

↓

JSON Response

↓

Fusion Grid

### 6.1.4 API Reference

| Operation | Method | Endpoint |
| --- | --- | --- |
| Load All Meters | GET | /MeterAnalyzer/AnalyzerAllMeterDetails |
| Search Meters | POST | /MeterAnalyzer/SearchAnalyzerMeterDetails |

#### Search Meters — Request Body

{ "Meter_no": "", "Address": "", "City": "", "Account_no": "", "Point_id": "" }

### 6.1.5 Controller and Service Methods

| Layer | Methods |
| --- | --- |
| Controller (MeterAnalyzerController) | AnalyzerAllMeterDetails(), SearchAnalyzerMeterDetails() |
| Service (MeterAnalyzerService) | GetAllAnalyzerMeterDetailbyJson(), SearchAnalyzerMeterDetailsByParam() |

### 6.1.6 Oracle Procedures

| Operation | Procedure Name |
| --- | --- |
| Load All Meters | V_SP_DA_ANALYZER_LOAD |
| Search Meters | V_SP_DA_ANALYZER_METER_SEARCH |

### 6.1.7 Navigation

When a user clicks a meter number:

Analyzer Meter Grid

↓

openInNewTab()

↓

/meter-analysis-details/{meterNo}

## 6.2 Meter Analysis Details

| Component | Files |
| --- | --- |
| MeterAnalysisDetailsComponent | meter-analysis-details.component.ts, meter-analysis-details.component.html |

### 6.2.1 Tabs

- Detailed Demand

- Detailed Consumption

- Voltage Analysis

### 6.2.2 Shared Graph (Snowflake Chart Data) Architecture

All Meter Analysis charts use the same underlying architecture.

MeterAnalysisDetailsComponent

↓

MeterAnalyzerService

↓

GraphController

↓

GraphService

↓

Oracle Query Repository

↓

Snowflake Query

↓

Snowflake Database

↓

JSON Result

↓

Chart Rendering

### 6.2.3 Graph Controller and Service

| Item | Detail |
| --- | --- |
| Controller | GraphController |
| Primary Endpoint | POST /Graph/GetSFGraphMeterDetail |
| Method | GetCombinedMeterData() |
| Service | GraphService |
| Key Methods | GetCombinedMeterData(), GetQueryFromOracle(), ReplacePlaceholdersFromJson() |

## 6.3 Detailed Demand

### 6.3.1 Purpose

Displays demand-related metrics for a meter.

### 6.3.2 Supported Metrics

- kW Delivered

- kVA Delivered

- kW Received

- kVA Received

- Meter Temp (°C)

- Ambient Temp (°F)

### 6.3.3 Data Flow

#### Generate Graph Flow

Generate Graph

↓

callDetailedDemandMetricChartFunction()

↓

getMeterMetricDemandChartData()

↓

MeterMetricDataById()

↓

GraphController

↓

Query ID: 16

### 6.3.4 Channel Mapping

| Channel | Description |
| --- | --- |
| 1 | kW Delivered |
| 2 | kVA Delivered |
| 3 | kW Received |
| 4 | kVA Received |
| 8 | Meter Temp |
| 9 | Ambient Temp |

### 6.3.5 Demand Chart Series Mapping

| Series | Metric | Channel |
| --- | --- | --- |
| Series 1 | kW Delivered | 1 |
| Series 2 | kVA Delivered | 2 |
| Series 3 | kW Received | 3 |
| Series 4 | kVA Received | 4 |
| Series 5 | Meter Temp (°C) | 8 |
| Series 6 | Ambient Temp (°F) | 9 |

### 6.3.6 Demand Summary Calculations

Generated by: buildAllDemandSummaries(). For each selected unit, the following is computed: Start Date, Start Time, End Date, End Time, Maximum Value, Maximum Value Date, and Total.

| Metric | Calculation |
| --- | --- |
| Total | Sum of all interval values |
| Maximum Value | Highest interval value |
| Maximum Value Date | Timestamp where the maximum occurred |

### 6.3.7 Demand Calculation Functions

| Function | Purpose |
| --- | --- |
| ConfigureDemandAxes() | Determine chart axis ranges dynamically |
| buildAllDemandSummaries() | Build the right-hand information panel |
| buildDemandInfo() | Calculate Start Date, End Date, Start Time, End Time, Maximum Value, Maximum Value Date, and Total |

## 6.4 Detailed Consumption

### 6.4.1 Purpose

Displays consumption metrics.

### 6.4.2 Supported Metrics

- kW Delivered

- kVA Delivered

- kW Received

- kVA Received

- Meter Temp (°C)

- Ambient Temp (°F)

### 6.4.3 User Parameters

- Unit of Measure

- Unit of Time

- Ambient Temperature Toggle

### 6.4.4 Data Flow

#### Generate Graph Flow

Generate Graph

↓

callDetailedConsumptionMetricChartFunction()

↓

getMeterMetricConsumptionChartData()

↓

GraphController

↓

Query ID: 16

### 6.4.5 Unit of Time Options

- Year

- Month

- Day

Selected through: unitOfTimeValue

### 6.4.6 Consumption Summary Calculations

Generated by: buildAllConsumptionSummaries(). Calculates: Start Date, End Date, Start Time, End Time, Max Value, Max Value Date, and Total Consumption.

### 6.4.7 Consumption Calculation Functions

| Function | Purpose |
| --- | --- |
| ConfigureConsumptionAxes() | Configure the consumption chart axis |
| buildAllConsumptionSummaries() | Build consumption summary panels |
| buildDemandInfo() | Calculate Maximum Value, Maximum Value Date, and Total Consumption |

## 6.5 Voltage Analysis

### 6.5.1 Purpose

Displays voltage information for a meter.

### 6.5.2 Data Flow

#### Generate Graph Flow

Generate Graph

↓

callMeterMetricChartFunction()

↓

getMeterMetricVoltageChartData()

↓

GraphController

↓

Query ID: 15

### 6.5.3 Channel Mapping

| Channel | Description |
| --- | --- |
| 5 | Phase A |
| 6 | Phase B |
| 7 | Phase C |

### 6.5.4 Sidebar Calculations

Generated by: buildVoltagePhaseInfo(). For each phase (Phase A, Phase B, Phase C), the following is calculated: Start Date, End Date, Start Time, End Time, Maximum Value, Maximum Value Date, Minimum Value, and Minimum Value Date.

### 6.5.5 Voltage Calculation Functions

| Function | Purpose |
| --- | --- |
| ConfigureVoltageAxes() | Dynamically split voltage lines onto separate axis groups |
| buildVoltagePhaseInfo() | Calculate Minimum Voltage, Maximum Voltage, Min Date, Max Date, Start Date, and End Date |

## 6.6 Billing Period Data

Used whenever Billing Period is selected.

| Item | Detail |
| --- | --- |
| Method | getBillingDateRangeData() |
| Query ID | 17 |
| Returned Fields | BEG_RD_DT, END_RD_DT, BILL_MONTH |
| Usage | Populate the Billing Period dropdown |

Selecting a billing period automatically triggers:

- Demand Chart Load

- Consumption Chart Load

- Voltage Chart Load

# 7. Coincident / Non-Coincident Peak Reporting

| Item | Detail |
| --- | --- |
| Component | AnalyzerComponent |
| Tab | Coincident/Non-Coincident Peak Reporting |

## 7.1 Transformer Search

### 7.1.1 Search Criteria

- Point ID

- Pole/Pad ID

- Substation

- Circuit ID

- Crew Quarter

### 7.1.2 Data Flow

#### Transformer Search Flow

Search Component

↓

handleSearch()

↓

getAnalyzerTransformersDetailsBySearchParam()

↓

TransformerService

↓

POST AnalyzerPeakReportSearchData

↓

MeterAnalyzerController

↓

AnalyzerCoinNonCoinPeakReportSearch()

↓

V_SP_DA_COIN_NONCOIN_TRANSFORMER_SEARCH

↓

Oracle

↓

Grid

### 7.1.3 API Reference

| Operation | Method | Endpoint |
| --- | --- | --- |
| Load Transformers | GET | /MeterAnalyzer/AnalyzerPeakReportLoadAll |
| Search Transformers | POST | /MeterAnalyzer/AnalyzerPeakReportSearchData |

### 7.1.4 Oracle Procedures

| Operation | Procedure Name |
| --- | --- |
| Load All | V_SP_DA_COINC_NONCOIN_REPORTING_LOAD_ALL |
| Search | V_SP_DA_COIN_NONCOIN_TRANSFORMER_SEARCH |

## 7.2 Coincident Peak Report Popup

Opened when a user clicks a Point ID.

#### Peak Report Popup Flow

User clicks Point ID

↓

openPointIdDialog()

↓

getTransformerCoinc_NonCoincData()

↓

transformerCoin_NonCoinData()

↓

Snowflake Query

↓

Contributor Meter Data

↓

Popup Grid

## 7.3 Coincident / Non-Coincident Query IDs

| Query ID | Purpose |
| --- | --- |
| 63 | Coincident/Non-Coincident Query — 15 Minutes |
| 65 | Coincident/Non-Coincident Query — Hourly |
| 66 | Coincident/Non-Coincident Query — Daily Aggregated |

## 7.4 Peak Calculations

Frontend calculates totals. Method: getTransformerCoinc_NonCoincData()

### 7.4.1 Totals

- coincidentKVAH

- coincidentKWH

- nonCoincidentKVAH

- nonCoincidentKWH

### 7.4.2 Calculation

Sum all contributor meter values for: COINCIDENT_KVAH_NET, COINCIDENT_KWH_NET, NONCOINCIDENT_KVAH_NET, NONCOINCIDENT_KWH_NET.

## 7.5 Popup Data Model

### 7.5.1 Header Values

- POINT_ID

- RUN_TIME

- UNIT_OF_MEASURE

- START_TIME

- END_TIME

- COINCIDENT_PEAK_TIME

- TOTAL_NON_COINCIDENT_PEAK

### 7.5.2 Grid Values

- SERVICE_POINT_ID

- METER_NO

- COINCIDENT_KWH_NET

- COINCIDENT_KVAH_NET

- NONCOINCIDENT_KWH_NET

- NONCOINCIDENT_KVAH_NET

- NONCOINCIDENT_PEAK_TIME

# 8. Export Functionality

## 8.1 Supported Exports

- Meter Search Grid

- Coincident/Non-Coincident Detail Popup

## 8.2 Implementation

| Item | Detail |
| --- | --- |
| Method | exportGridByIndex() |
| Mechanism | Fusion Data Grid Excel Export |

# 9. Calculation Framework

This section consolidates all business calculation logic referenced throughout the module.

## 9.1 Demand Calculations

| Function | Purpose |
| --- | --- |
| ConfigureDemandAxes() | Determine chart axis ranges dynamically |
| buildAllDemandSummaries() | Build the demand information panel |
| buildDemandInfo() | Calculate Start/End Date-Time, Maximum Value, Maximum Value Date, Total |

## 9.2 Consumption Calculations

| Function | Purpose |
| --- | --- |
| ConfigureConsumptionAxes() | Configure the consumption chart axis |
| buildAllConsumptionSummaries() | Build consumption summary panels |
| buildDemandInfo() | Calculate Maximum Value, Maximum Value Date, Total Consumption |

## 9.3 Voltage Calculations

| Function | Purpose |
| --- | --- |
| ConfigureVoltageAxes() | Split voltage lines onto separate axis groups |
| buildVoltagePhaseInfo() | Calculate Minimum/Maximum Voltage and associated dates |

## 9.4 Peak Calculations

Method: getTransformerCoinc_NonCoincData() — sums contributor meter values into COINCIDENT_KWH_NET, COINCIDENT_KVAH_NET, NONCOINCIDENT_KWH_NET, and NONCOINCIDENT_KVAH_NET.

⚠ Support Tip: Incorrect totals should first be diagnosed at the frontend aggregation layer (buildAllDemandSummaries(), buildAllConsumptionSummaries(), and the coincident peak summation logic) before Oracle or Snowflake data is suspected.

# 10. Data Models and Request Objects

## 10.1 SearchAnalyzerMeterDetailsRequest

| Field | Description |
| --- | --- |
| Meter_no | Meter number search parameter |
| Address | Address search parameter |
| City | City search parameter |
| Account_no | Account number search parameter |
| Point_id | Point ID search parameter |

## 10.2 AnalyzerReportSearch

| Field | Description |
| --- | --- |
| STATUS | Transformer/report status |
| POINT_ID | Transformer point identifier |
| POLE_PAD_ID | Pole/Pad identifier |
| SUBSTATION | Substation identifier |
| CIRCUIT_ID | Circuit identifier |
| CREW_QUARTER | Crew quarter identifier |
| DURATION | Reporting duration |

# 11. Code Location Reference

## 11.1 Frontend Files

| Component | Files |
| --- | --- |
| AnalyzerComponent | analyzer.component.ts, analyzer.component.html |
| MeterAnalysisDetailsComponent | meter-analysis-details.component.ts, meter-analysis-details.component.html |

## 11.2 Backend Files

| Layer | Files |
| --- | --- |
| Controllers | MeterAnalyzerController.cs, GraphController.cs |
| Services | MeterAnalyzerService.cs, GraphService.cs |
| Connectors | IOracleConnectorODP, SnowflakeConnector.cs |

## 11.3 Oracle Stored Procedures Inventory

| Procedure Name | Purpose | Called By |
| --- | --- | --- |
| V_SP_DA_ANALYZER_LOAD | Load all meters | MeterAnalyzerController.AnalyzerAllMeterDetails() |
| V_SP_DA_ANALYZER_METER_SEARCH | Search meters by criteria | MeterAnalyzerController.SearchAnalyzerMeterDetails() |
| V_SP_DA_COIN_NONCOIN_TRANSFORMER_SEARCH | Search transformers by criteria | MeterAnalyzerController.AnalyzerCoinNonCoinPeakReportSearch() |
| V_SP_DA_COINC_NONCOIN_REPORTING_LOAD_ALL | Load all transformers | MeterAnalyzerController (Load Transformers) |
| V_SP_DA_GET_ALGQUERY | Retrieve Snowflake SQL template by Query ID | GraphService.GetQueryFromOracle() |

# 12. Technology Stack and Known Dependencies

| Layer | Technology |
| --- | --- |
| Frontend Framework | Angular |
| UI Framework | Fusion UI Components |
| Backend Framework | ASP.NET Core |
| Database | Oracle |
| Analytics Platform | Snowflake |
| Authentication | Azure AD / Enterprise Authentication |
| Charting | Fusion Chart Components |

# 13. Troubleshooting Framework

The following table lists common failure scenarios, the components involved, and the recommended diagnostic checks.

| Issue | Related Component(s) | Recommended Checks |
| --- | --- | --- |
| Meter Search Returns No Data | AnalyzerAllMeterDetails API, V_SP_DA_ANALYZER_LOAD | Verify API response; verify Oracle connectivity; verify stored procedure execution |
| Meter Analysis Charts Empty | GraphController, Oracle Query Repository, Snowflake | Verify Query ID mapping; verify Oracle Query Repository entry; verify Snowflake query result |
| Billing Period Dropdown Empty | BillingDateRangeDataById(), Query ID 17 | Verify Query ID 17 configuration; verify Snowflake query result |
| Coincident / Non-Coincident Popup Empty | Transformer Point ID, Query IDs 63/65/66 | Verify Point ID validity; verify Snowflake result for the relevant Query ID |
| Incorrect Totals | buildAllDemandSummaries(), buildAllConsumptionSummaries(), Coincident Peak Summation Logic | Verify frontend aggregation logic before escalating to data layer |

⚠ Important Note: Always confirm the Query ID mapping (Section 5.4) before escalating a blank-chart issue to the data platform team — most blank-chart issues trace back to a Query ID or Oracle Query Repository misconfiguration rather than a Snowflake data problem.

# 14. Technical Support

## 14.1 Support Approach

Support engineers should use this document as the primary reference when triaging Analyzer module issues. The recommended approach is:

- Identify the affected feature (Section 6 or Section 7).

- Confirm the associated Query ID using the Feature-to-Query Mapping (Section 5.3).

- Trace the data flow for that feature using the corresponding flowchart.

- Apply the relevant checks from the Troubleshooting Framework (Section 13).

- Escalate to the appropriate layer owner (Frontend, Backend/Service, Oracle, or Snowflake) only after the above steps have been completed.

## 14.2 Escalation Layers

| Layer | Owning Area | Representative Artifacts |
| --- | --- | --- |
| Frontend | Angular / UI Team | AnalyzerComponent, MeterAnalysisDetailsComponent, SearchComponent |
| Backend / Service | Application Development Team | MeterAnalyzerController, GraphController, MeterAnalyzerService, GraphService |
| Data — Oracle | Database Team | Stored procedures listed in Section 11.3 |
| Data — Snowflake | Analytics Platform Team | Query templates resolved via V_SP_DA_GET_ALGQUERY |

## 14.3 Document Maintenance

This document should be updated whenever a new feature, endpoint, stored procedure, or Query ID is introduced to the Analyzer module. Section numbering and the Table of Contents should be refreshed after any structural change.